## LIVD Publication
Publisher | bioMérieux
Document Identifier | BFR0001-2682
Publication date | March 2025
Publisher URL | https://www.biomerieux.com/corp/en/service-and-support/support/BioFire-System-Documents.html
Publisher Statement | bioMérieux will ensure the accuracy of the enclosed LOINC® codes upon each bi-annual LOINC® version release, and will keep internal record of these reviews. A new version of this spreadsheet will only be released if changes to the codes have been made. The BioFire® Respiratory Panel 2.1-EZ (RP2.1-EZ) is a multiplexed nucleic acid test intended for the simultaneous qualitative detection and identification of nucleic acids from multiple common viral and bacterial respiratory organisms, including Severe Acute Respiratory Syndrome Coronavirus 2 (SARS-CoV-2), in nasopharyngeal swabs (NPS) obtained from individuals suspected of COVID-19 by their healthcare provider. Testing is limited to laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, that meet the requirements to perform high, moderate, or waived complexity tests. The BioFire RP2.1-EZ is only for use under the Food and Drug Administration’s Emergency Use Authorization.
Legal Statement | The LOINC® codes provided are potentially representative of, but not limited to, tests performed using the BioFire® FilmArray® Panels, and are provided for illustrative purposes only. They are available from public, third-party sources. Individual laboratories are responsible for exercising independent clinical judgment in selecting the codes that most accurately reflect the procedures and tests performed. The information provided does not constitute recommendations on determining codes. LOINC® codes are complex and may be subject to change. All decisions regarding coding must be made by the laboratory or healthcare provider and should be made by referring to the current, complete, and authoritative LOINC® publication. This document makes no representations or warranties as to selecting codes for procedures, product coverage, code accuracy, or compliance with any other coding systems or prerequisites. This information cannot cover all situations or all third-party rules or policies, nor can use of the information guarantee accuracy of the testing performed.
LOINC Copyright | This material contains content from LOINC (http://loinc.org). LOINC is copyright © 1995-2025, Regenstrief Institute, Inc. and the Logical Observation Identifiers Names and Codes (LOINC) Committee and is available at no cost under the license at http://loinc.org/license. LOINC® is a registered United States trademark of Regenstrief Institute, Inc.
Localization | en-US
Region

## Release Notes
BFR0001-2682-01 Release Notes | This is the first release of LOINC® codes for the BioFire® RP2.1-EZ Panel. This release excludes LOINC® codification of the Influenza A (no subtype detected) target, which is being actively reviewed by Regenstrief Institute, Inc.
BFR0001-2682-02 Release Notes | This is the second release of LOINC® codes for the BioFire® RP2.1-EZ Panel. This release includes: • update to new LIVD format • updated 'Model' to FilmArray • added 'Equipment UID' and 'Equipment UID Type' for FilmArray 2.0 and FilmArray Torch • updated 'Publication Version ID' • removed 'Vendor Analyte Code' throughout • corrected 'Vendor Analyte Name' for SARS-CoV-2 • updated 'Vendor Result Description' to include possible results for each analyte • added 'TestKit UID' and 'TestKit UID Type' • added 'LOINC ID Version' for each analyte • 94565-9: updated LOINC Long Name • Guidance added for using LOINC® codification for the Influenza A (no subtype detected) target
BFR0001-2682-03 Release Notes | This is the third release of LOINC® codes for the BioFire® RP2.1-EZ Panel. This release includes: • updated publisher URL • updated LOINC version IDs • added LOINC version ID column to "FluA Mapping Guidance" worksheet • updated 'Publication Version ID'

## LOINC Mapping
Vendor Equipment Mapping
Equipment |  |  |  | IVD Test Mapping
|  |  |  | IVD Test Performed | [8 empty] | LOINC
MUST HAVE | MUST HAVE | MAY HAVE | MAY HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated
Manufacturer | Model | Equipment UID | Equipment UID Type | Publication Version ID | Vendor Analyte Code | Vendor Analyte Name | Vendor Specimen Description | Vendor Result Description | Vendor Reference ID | Testkit UID | Testkit UID Type | Vendor Comment | LOINC Code | LOINC Long Name | Component | Property | Time | System | Scale | Method | LOINC Version ID
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | BioFire Respiratory Panel 2.1 (EZ) | Nasopharyngeal Swab | Ordinal |  | See UID Tab | GTIN |  | 82159-5 | Respiratory pathogens DNA and RNA panel - Nasopharynx by NAA with non-probe detection | Respiratory pathogens DNA & RNA panel | - | Pt | Nph | - | Non-probe.amp.tar | 2.77
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Adenovirus | Nasopharyngeal Swab | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82160-3 | Adenovirus DNA [Presence] in Nasopharynx by NAA with non-probe detection | Adenovirus DNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Bordetella parapertussis | Nasopharyngeal Swab | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 87621-9 | Bordetella parapertussis IS1001 DNA [Presence] in Nasopharynx by NAA with non-probe detection | Bordetella parapertussis IS1001 DNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Bordetella pertussis | Nasopharyngeal Swab | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82179-3 | Bordetella pertussis.pertussis toxin promoter region [Presence] in Nasopharynx by NAA with non-probe detection | Bordetella pertussis.pertussis toxin promoter region | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Chlamydia pneumoniae | Nasopharyngeal Swab | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82178-5 | Chlamydophila pneumoniae DNA [Presence] in Nasopharynx by NAA with non-probe detection | Chlamydophila pneumoniae DNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Coronavirus 229E | Nasopharyngeal Swab | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82163-7 | Human coronavirus 229E RNA [Presence] in Nasopharynx by NAA with non-probe detection | Human coronavirus 229E RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Coronavirus HKU1 | Nasopharyngeal Swab | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82161-1 | Human coronavirus HKU1 RNA [Presence] in Nasopharynx by NAA with non-probe detection | Human coronavirus HKU1 RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Coronavirus NL63 | Nasopharyngeal Swab | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82162-9 | Human coronavirus NL63 RNA [Presence] in Nasopharynx by NAA with non-probe detection | Human coronavirus NL63 RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Coronavirus OC43 | Nasopharyngeal Swab | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82164-5 | Human coronavirus OC43 RNA [Presence] in Nasopharynx by NAA with non-probe detection | Human coronavirus OC43 RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Human Metapneumovirus | Nasopharyngeal Swab | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82165-2 | Human metapneumovirus RNA [Presence] in Nasopharynx by NAA with non-probe detection | Human metapneumovirus RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Human Rhinovirus/Enterovirus | Nasopharyngeal Swab | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82175-1 | Rhinovirus+Enterovirus RNA [Presence] in Nasopharynx by NAA with non-probe detection | Rhinovirus+Enterovirus RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Influenza A | Nasopharyngeal Swab | Ordinal Not Detected, Equivocal |  | See UID Tab | GTIN |  | 82166-0 | Influenza virus A RNA [Presence] in Nasopharynx by NAA with non-probe detection | Influenza virus A RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Influenza A (no subtype detected) | Nasopharyngeal Swab | Ordinal Detected |  | See UID Tab | GTIN | See FluA Mapping Guidance Tab
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Influenza A H1 | Nasopharyngeal Swab | Ordinal Detected, Equivocal |  | See UID Tab | GTIN |  | 82167-8 | Influenza virus A H1 RNA [Presence] in Nasopharynx by NAA with non-probe detection | Influenza virus A H1 RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Influenza A H1-2009 | Nasopharyngeal Swab | Ordinal Detected, Equivocal |  | See UID Tab | GTIN |  | 82168-6 | Influenza virus A H1 2009 pandemic RNA [Presence] in Nasopharynx by NAA with non-probe detection | Influenza virus A H1 2009 pandemic RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Influenza A H3 | Nasopharyngeal Swab | Ordinal Detected, Equivocal |  | See UID Tab | GTIN |  | 82169-4 | Influenza virus A H3 RNA [Presence] in Nasopharynx by NAA with non-probe detection | Influenza virus A H3 RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Influenza B | Nasopharyngeal Swab | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82170-2 | Influenza virus B RNA [Presence] in Nasopharynx by NAA with non-probe detection | Influenza virus B RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Mycoplasma pneumoniae | Nasopharyngeal Swab | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82177-7 | Mycoplasma pneumoniae DNA [Presence] in Nasopharynx by NAA with non-probe detection | Mycoplasma pneumoniae DNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Parainfluenza Virus | Nasopharyngeal Swab | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 88890-9 | Parainfluenza virus 1+2+3+4 RNA [Presence] in Nasopharynx by NAA with non-probe detection | Parainfluenza virus 1+2+3+4 RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.64
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Respiratory Syncytial Virus | Nasopharyngeal Swab | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82176-9 | Respiratory syncytial virus RNA [Presence] in Nasopharynx by NAA with non-probe detection | Respiratory syncytial virus RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 |  | Coronavirus SARS-CoV-2 | Nasopharyngeal Swab | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 94565-9 | SARS-CoV-2 (COVID-19) RNA [Presence] in Nasopharynx by NAA with non-probe detection | SARS coronavirus 2 RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73

## UID
Model | Equipment UID
FILMARRAY 2.0 INSTRUMENT | 00815381020031
FILMARRAY 2.0 INSTRUMENT (W) | 00815381029058
Panel | Testkit UID
BIOFIRE RP2.1-EZ PANEL EUA, 30 TESTS | 815381020239

## FluA Mapping Guidance
Currently, there is no direct LOINC code associated with the Influenza A (no subtype detected) target obtained from the BioFire Respiratory Panel 2.1 EZ (RP2.1-EZ). As such, the following guidance is provided as a representation of using LOINC codes to represent this target.
Vendor Analyte Code | Vendor Analyte Name | This analyte may map to the following four LOINC codes, where the result associated with the LOINC code is significant --> | Result | LOINC Code | LOINC Long Name | Component | Property | Time | System | Scale | Method | LOINC Version ID
PCR_INFV_A_NS | Influenza A (no subtype detected) |  | Detected | 82166-0 | Influenza virus A RNA [Presence] in Nasopharynx by NAA with non-probe detection | Influenza virus A RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
|  |  | Not Detected | 82167-8 | Influenza virus A H1 RNA [Presence] in Nasopharynx by NAA with non-probe detection | Influenza virus A H1 RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
|  |  | Not Detected | 82168-6 | Influenza virus A H1 2009 pandemic RNA [Presence] in Nasopharynx by NAA with non-probe detection | Influenza virus A H1 2009 pandemic RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
|  |  | Not Detected | 82169-4 | Influenza virus A H3 RNA [Presence] in Nasopharynx by NAA with non-probe detection | Influenza virus A H3 RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73