## LIVD Publication
Publisher | bioMérieux
Document Identifier | RFIT-PRT-0903
Publication date | March 2025
Publisher URL | https://www.biomerieux.com/corp/en/service-and-support/support/BioFire-System-Documents.html
Publisher Statement | bioMérieux will ensure the accuracy of the enclosed LOINC® codes upon each bi-annual LOINC® version release, and will keep internal record of these reviews. A new version of this spreadsheet will only be released if changes to the codes have been made. The BIOFIRE® FILMARRAY® Gastrointestinal (GI) Panel is a qualitative multiplexed nucleic acid-based in vitro diagnostic test intended for use with BIOFIRE® FILMARRAY® Systems. The BIOFIRE GI Panel is capable of the simultaneous detection and identification of nucleic acids from multiple bacteria, viruses, and parasites directly from stool samples in Cary Blair transport media obtained from individuals with signs and/or symptoms of gastrointestinal infection.
Legal Statement | The LOINC® codes provided are potentially representative of, but not limited to, tests performed using the BioFire® FilmArray® Panels, and are provided for illustrative purposes only. They are available from public, third-party sources. Individual laboratories are responsible for exercising independent clinical judgment in selecting the codes that most accurately reflect the procedures and tests performed. The information provided does not constitute recommendations on determining codes. LOINC® codes are complex and may be subject to change. All decisions regarding coding must be made by the laboratory or healthcare provider and should be made by referring to the current, complete, and authoritative LOINC® publication. This document makes no representations or warranties as to selecting codes for procedures, product coverage, code accuracy, or compliance with any other coding systems or prerequisites. This information cannot cover all situations or all third-party rules or policies, nor can use of the information guarantee accuracy of the testing performed.
LOINC Copyright | This material contains content from LOINC (http://loinc.org). LOINC is copyright © 1995-2025, Regenstrief Institute, Inc. and the Logical Observation Identifiers Names and Codes (LOINC) Committee and is available at no cost under the license at http://loinc.org/license. LOINC® is a registered United States trademark of Regenstrief Institute, Inc.
Localization | en-US
Region

## Release Notes
RFIT-PRT-0903-01 Release Notes | This is the first release of LOINC® codes for the FIlmArray® Gastrointestinal (GI) Panel v2.1.
RFIT-PRT-0903-02 Release Notes | This is the second release of LOINC® codes for the FIlmArray® Gastrointestinal (GI) Panel v2.1. Changes include the following: • 82203-1: (tcdA+tcdB) was changed to tcdA+tcdB in the LOINC long Name and Component • 82197-5: shiga-like toxin 1+2 (stx1+stx2) was changed to Stx1 and Stx2 toxin stx1+stx2 in the LOINC long Name and to to Stx1+Stx2 toxin stx1+stx2 in the Component
RFIT-PRT-0903-03 Release Notes | This is the third release of LOINC® codes for the FilmArray® Gastrointestinal (GI) Panel v2.1. Changes include the following: • LOINC version updated to v2.66 from v2.65 • 82197-5: LOINC long name changed from "Clostridium difficile toxin A+B tcdA+tcdB genes [Presence] in Stool by NAA with non-probe detection" to "Clostridioides difficile toxin A+B tcdA+tcdB genes [Presence] in Stool by NAA with non-probe detection". LOINC Component changed from "Clostridium difficile toxin A+B tcdA+tcdB genes" to "Clostridioides difficile toxin A+B tcdA+tcdB". • Under "Vendor Result Description" in Column I of the "GI Panel v2.1 LOINC Table" tab of this spreadsheet, wrote out answer list for this panel by analyte.
RFIT-PRT-0903-04 Release Notes | This is the four release of LOINC® codes for the FilmArray® Gastrointestinal (GI) Panel v2.1. This release includes: • update to new LIVD format • added 'Equipment UID' and 'Equipment UID Type' for FilmArray 2.0 and FilmArray Torch • updated 'Publication Version ID' • added 'Vendor Analyte Code' for the GI panel code • updated 'Vendor Analyte Name' for the GI panel code • updated 'Vendor Result Description' to include possible results for each analyte • added 'TestKit UID' and 'TestKit UID Type' • added 'LOINC ID Version' for each analyte • 80350-2: updated LOINC Long Name • corrected spelling error in 'Vendor Analyte Name' for Cyclospora cayetanensis
RFIT-PRT-0903-05 Release Notes | This is the fifth release of LOINC® codes for the FilmArray® Gastrointestinal (GI) Panel v2.1. This release includes: • added Vendor Comment for Clostridium difficile toxin A/B • updated publisher URL

## LOINC Mapping
Vendor Equipment Mapping
Equipment |  |  |  | IVD Test Mapping
|  |  |  | IVD Test Performed | [8 empty] | LOINC
MUST HAVE | MUST HAVE | MAY HAVE | MAY HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated
Manufacturer | Model | Equipment UID | Equipment UID Type | Publication Version ID | Vendor Analyte Code | Vendor Analyte Name | Vendor Specimen Description | Vendor Result Description | Vendor Reference ID | Testkit UID | Testkit UID Type | Vendor Comment | LOINC Code | LOINC Long Name | Component | Property | Time | System | Scale | Method | LOINC Version ID
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | GI | GI Panel | Stool in Cary Blair transport media | Ordinal |  | See UID Tab | GTIN |  | 82195-9 | Gastrointestinal pathogens DNA and RNA panel - Stool by NAA with non-probe detection | Gastrointestinal pathogens DNA & RNA panel | - | Pt | Stool | - | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_ADENOV_F4041 | Adenovirus F 40/41 | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82209-8 | Adenovirus 40+41 DNA [Presence] in Stool by NAA with non-probe detection | Adenovirus 40+41 DNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_ASTROV | Astrovirus | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82210-6 | Astrovirus subtypes 1-8 RNA [Presence] in Stool by NAA with non-probe detection | Astrovirus subtypes 1-8 RNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_CAMPHY | Campylobacter | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82196-7 | Campylobacter coli+jejuni+upsaliensis DNA [Presence] in Stool by NAA with non-probe detection | Campylobacter coli+jejuni+upsaliensis DNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_CLODIF_TAB | Clostridium difficile toxin A/B | Stool in Cary Blair transport media | Ordinal* Not Detected, Detected |  | See UID Tab | GTIN | *May not be reported if C.diff is toggled to "Not Report" in BioFire software. | 82197-5 | Clostridioides difficile toxin A+B tcdA+tcdB genes [Presence] in Stool by NAA with non-probe detection | Clostridioides difficile toxin A+B tcdA+tcdB genes | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_CRYPTO | Cryptosporidium | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82205-6 | Cryptosporidium sp DNA [Presence] in Stool by NAA with non-probe detection | Cryptosporidium sp DNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_CYCCAY | Cyclospora cayetanensis | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82206-4 | Cyclospora cayetanensis DNA [Presence] in Stool by NAA with non-probe detection | Cyclospora cayetanensis DNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_ESCCOL_O157 | E. coli O157 | Stool in Cary Blair transport media | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 82204-9 | Escherichia coli O157 DNA [Presence] in Stool by NAA with non-probe detection | Escherichia coli O157 DNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_ENTHIS | Entamoeba histolytica | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82207-2 | Entamoeba histolytica DNA [Presence] in Stool by NAA with non-probe detection | Entamoeba histolytica DNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_EAEC | Enteroaggregative E. coli (EAEC) | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 80349-4 | Escherichia coli enteroaggregative pAA plasmid aggR+aatA genes [Presence] in Stool by NAA with non-probe detection | Escherichia coli enteroaggregative pAA plasmid aggR+aatA genes | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_EPEC | Enteropathogenic E. coli (EPEC) | Stool in Cary Blair transport media | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 80348-6 | Escherichia coli enteropathogenic eae gene [Presence] in Stool by NAA with non-probe detection | Escherichia coli enteropathogenic eae gene | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_ETEC_LTST | Enterotoxigenic E. coli (ETEC) lt/st | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 80351-0 | Escherichia coli enterotoxigenic ltA+st1a+st1b genes [Presence] in Stool by NAA with non-probe detection | Escherichia coli enterotoxigenic ltA+st1a+st1b genes | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_GIALAM | Giardia lamblia | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82208-0 | Giardia lamblia DNA [Presence] in Stool by NAA with non-probe detection | Giardia lamblia DNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_NOROV_GIGII | Norovirus GI/GII | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82211-4 | Norovirus genogroup I+II RNA [Presence] in Stool by NAA with non-probe detection | Norovirus genogroup I+II RNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_PLESHI | Plesiomonas shigelloides | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82198-3 | Plesiomonas shigelloides DNA [Presence] in Stool by NAA with non-probe detection | Plesiomonas shigelloides DNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_ROTAV_A | Rotavirus A | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82212-2 | Rotavirus A RNA [Presence] in Stool by NAA with non-probe detection | Rotavirus A RNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_SALMON | Salmonella | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82199-1 | Salmonella enterica+bongori DNA [Presence] in Stool by NAA with non-probe detection | Salmonella enterica+bongori DNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_SAPOV | Sapovirus | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82213-0 | Sapovirus genogroups I+II+IV+V RNA [Presence] in Stool by NAA with non-probe detection | Sapovirus genogroups I+II+IV+V RNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_STEC_STX12 | Shiga-like toxin-producing E. coli (STEC) stx1/stx2 | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82203-1 | Escherichia coli Stx1 and Stx2 toxin stx1+stx2 genes [Presence] in Stool by NAA with non-probe detection | Escherichia coli Stx1+Stx2 toxin stx1+stx2 genes | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_EIEC | Shigella/Enteroinvasive E. coli (EIEC) | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 80350-2 | Shigella species+EIEC invasion plasmid antigen H ipaH gene [Presence] in Stool by NAA with non-probe detection | Shigella species+EIEC invasion plasmid antigen H (ipaH) gene | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_VIBRIO | Vibrio | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82200-7 | Vibrio cholerae+parahaemolyticus+vulnificus DNA [Presence] in Stool by NAA with non-probe detection | Vibrio cholerae+parahaemolyticus+vulnificus DNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_VIBCHO | Vibrio cholerae | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82201-5 | Vibrio cholerae DNA [Presence] in Stool by NAA with non-probe detection | Vibrio cholerae DNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 05 | PCR_YERENT | Yersinia enterocolitica | Stool in Cary Blair transport media | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82202-3 | Yersinia enterocolitica DNA [Presence] in Stool by NAA with non-probe detection | Yersinia enterocolitica DNA | PrThr | Pt | Stool | Ord | Non-probe.amp.tar | 2.73

## UID
Model | Equipment UID
FILMARRAY 2.0 INSTRUMENT | 00815381020031
FILMARRAY 2.0 INSTRUMENT (W) | 00815381029058
FILMARRAY TORCH SYSTEM BASE | 00815381020253
FILMARRAY TORCH SYSTEM BASE (W) | 00815381029096
FILMARRAY TORCH INSTRUMENT MODULE | 00815381020277
FILMARRAY TORCH MODULE BOX (W) | 00815381029089
Panel | Testkit UID
FILMARRAY GI PANEL, 30 TESTS | 00815381020109
FILMARRAY GI PANEL, 6 TESTS | 00815381020116